## Slide 1
Q1: How do we determine the crystal structure?

## Slide 2
Incident Beam
Transmitted Beam
Diffracted Beam
Sample
Diffracted Beam
X-Ray Diffraction

## Slide 3
Incident Beam
X-Ray Diffraction
Transmitted Beam
Diffracted Beam
Sample
Braggs Law (Part 1): For every diffracted beam there exists a set of crystal lattice planes such that the diffracted beam appears to be specularly reflected from this set of planes.
≡ Bragg Reflection

## Slide 4
X-Ray Diffraction
Braggs’ recipe for Nobel prize?
Call the diffraction a reflection!!!

## Slide 5
Braggs Law (Part 1): the diffracted beam appears to be specularly reflected from a set of crystal lattice planes.
Specular reflection: Angle of incidence =Angle of reflection (both measured from the plane and not from the normal)
The incident beam, the reflected beam and the plane normal lie in one plane
X-Ray Diffraction
i


plane
r

## Slide 6
X-Ray Diffraction
i


r
dhkl
Bragg’s law (Part 2):

## Slide 7
i


r
Path Difference =PQ+QR
P
Q
R


dhkl

## Slide 8
Path Difference =PQ+QR
i
r
P
Q
R


Constructive inteference
Bragg’s law

## Slide 9
Two equivalent ways of stating Bragg’s Law
1st Form
2nd Form

## Slide 10
nth order reflection from (hkl) plane
1st order reflection from (nh nk nl) plane

e.g. a 2nd order reflection from (111) plane can be described as 1st order reflection from (222) plane
Two equivalent ways of stating Bragg’s Law

## Slide 11
BRAGG VIEW OF DIFFRACTION
X-rays that hit the crystal are elastically scattered by the sets of (hkl) planes




dhkl


The path difference for rays 1 and 2 equals to the length of two blue lines:
1
2
1′
2′

## Slide 12
BRAGG LAW
The diffraction maxima will be created by reflection from a set of planes at angle  that results in the integer wavelength difference in the path of the rays:
Consequence 1:
Each set of planes (hkl) is characterized by its own value hkl at which the diffraction maximum is observed
Consequence 2:
Each crystalline compound is characterized by a set of reflections at characteristic dhkl , or hkl (diffraction “fingerprint” of the compound)

## Slide 13
BRAGG VIEW OF DIFFRACTION
The deviation of the ray from its initial path equals 2


dhkl
1
1′
2

## Slide 26: 7.3 X-ray diffraction of crystals

## Slide 27
7.3.1 The source and property of X-ray
X-ray tube
the wavelengths of X-ray are in the range
of 100-0.01Å
1-0.01Å: hard x-ray
100～1Å：soft x-ray
2.5-0.5Å: used in crystal structure analysis
1-0.05Å: used in medical perspective, detection of materials wound

## Slide 28: X-rays produced by electronic transition between atomic energy levels
K
e
e
High energy electron beam
M
L
L radiation
As for Cu:
K1=1.540594Å
K2=1.544422Å
IK1  2IK2
1.54056Å
A part of the electrons are blocked; their kinetic energies giving rise to “white” x-ray.
Notes: K1、K2因其副量子数不同而稍有差异
连续X射线谱
高能电子受靶原子电场减速, 发射连续X射线
特征X射线谱
当具有足够能量的电子(大于或等于壳层电子的结合能)轰击阳极靶时,可能将原子内层的电子逐出,使电子电离而处于激发态,空位将被高能量壳层的电子来填充,能量差则以X射线光子的形式辐射出来,结果得到具有固有能量,固定频率或固定波长的X射线.
如果是K壳层的电子被逐出, 有其它较高能级的外层电子填充而产生的X射线称为K系X射线.由L层电子填充者为K射线,有M层电子填充的称为K射线.其它类推. En-Ek=h=hc/k
原子间各壳层的能量差随原子序数的增加而增加, 故特征X射线的波长随原子序数的增加而变短.

## Slide 29
Notice: K2 can not be striped by the monochromator.
K2
K1

## Slide 30
Synchrotron Radiation X ray Source