Modern Techniques in analytical chemistry

Spectroscopic techniques

Separation Techniques

Mass Spectrometry

Microscopic and surface techniques

Electrochemical techniques

Hybrid/Hyphenated Techniques

Chemometrics for Analytical Chemistry

Design of experiments

Matrix-assisted laser desorption/ionization (MALDI)

Mass Spectrometry and Related Techniques

Mass Spectrometer Block Diagram

General Description of MS components

Gas Phase and Desorption Sources

Hard and Soft Sources

Electron Ionization/Electron Impact (EI)

Chemical Ionization (CI)

MALDI-TOF Mass Spectrometry

Double focusing magnetic sector Mass Analyzers

Ion Trap Mass Analyzers

Time-Of-Flight (TOF) Mass Analyzers

Quadrupole Mass Analyzers

MALDI-TOF in the Clinical Laboratory

General schematic for MS analysis of ionized microbiological isolates

What is MSMS?

Tandem Quadrupole MS

Separation Techniques

Solid Phase Extraction

How does SPME work?

Components of a Manual SPME Holder

SPME fibers available

Headspace Solid Phase Microextraction (HSSPME)

Direct immersion solid-phase microextraction (DISPME)

In vivo SPME sampling system

HS-SPME-GC MS method

Injecting and Running a Sample on GC

Liquid Phase Microextraction procedure

Schematic of a Gas Chromatograph

GC Column and Typical Temperature Program

Injector and Detectors

Application

Capillary GC/MS

HS-LPME-GC MS method

Fourier-transform infrared spectroscopy

GC-FTIR

Chemometrics for Analytical Chemistry

Linear algebra and its applications

Vectors and Matrix

Matlab software

Multiple linear regression (MLR)

Classical Least Squares (CLS) Method

Inverse Least Squares (ILS) regression

Planning and design of experiments (DOE)

Screening design: Factorial design, Full factorial design, Fractional factorial design, Orthogonal array design, Plackett–Burman design (PBD)

Graphs

Optimization design: Central composite design, Box–Behnken design, Doehlert design, Orthogonal array design, Full factorial design for optimization, Central composite design (CCD), Box–Behnken design (BBD)

Taguchi methods